## Sheet1
| no. | runtime | datetime | m%rh @Pc 2500 | m%rh @PcTc 2500 | mTs 2500 | mTc 2500 | mPs 2500 | mPc 2500 | mQ 2500 | mTs2500#1 SIL010 c10 | mPsDruck#1 0-20 h118 | mPoDruck#2 0-3b h119 | mPoDruck#3 0-3b h120 | mP MSL473_SH2 | mTc SIL012 c11 | mTc SIL019 c12 | mTc SIL020 c13 | mTx MSL473_SH2 | mDP MSL473_SH2 | mFP MSL473_SH2 | mRH MSL473_SH2 | mTm MSL473_SH2 | mTh MSL473_SH2 | mOx MSL473_SH2 | mTamb SIL039 c19 | mDP_at_dut | mFP_at_473 | mRHw_at_473 | s%rh @Pc 2500 | s%rh @PcTc 2500 | sTs 2500 | sTc 2500 | sPs 2500 | sPc 2500 | sQ 2500 | sTs2500#1 SIL010 c10 | sPsDruck#1 0-20 h118 | sPoDruck#2 0-3b h119 | sPoDruck#3 0-3b h120 | sP MSL473_SH2 | sTc SIL012 c11 | sTc SIL019 c12 | sTc SIL020 c13 | sTx MSL473_SH2 | sDP MSL473_SH2 | sFP MSL473_SH2 | sRH MSL473_SH2 | sTm MSL473_SH2 | sTh MSL473_SH2 | sOx MSL473_SH2 | sTamb SIL039 c19 | sDP_at_dut | sFP_at_473 | sRHw_at_473 | window | mean no | std no | DUT datetime | mean Dew\Frost Point | std Dew\Frost Point | mean Temperature | std Temperature | mean Relative Humidity | std Relative Humidity | mean Absolute Humidity | std Absolute Humidity | mean Mixing Ratio | std Mixing Ratio | mean Water Activity | std Water Activity
2 | 1 | 1900-06-28 19:54 | 2021-11-26 14:25 | 10.113 | 10.0007 | 14.002 | 14.1733 | 148.7322 | 14.6688 | 14.9558 | 105.4821 | 5.1301 | 2.9062 | 2.9208 | 101627.6 | 105.5554 | 105.5516 | 105.5272 | 14.0444 | -16.9969 | -15.2247 | 10.0958 | -15.2305 | 13.7 | 105.4825 | 107.8164 | -17.2874 | -15.4771 | 9.7377 | 0.0035142 | 0.004991 | 0.0048633 | 0.0005001 | 0.056352 | 0.0009798 | 0.11386 | 0.00038058 | 0.0015258 | 0.00016496 | 0.00016441 | 4.4542 | 2.4248e-05 | 2.5853e-05 | 1.4846e-05 | 0.0016293 | 0.026608 | 0.046421 | 0.045187 | 0.050592 | 0 | 0.0005 | 0.0097426 | 0.0029225 | 0.0026137 | 0.002369 | 10 | 1373 | 1.5811 | 2021-11-26 15:14 | 22.34 | 18.3184 | 14.08 | 0.044721 | 80.72 | 31.082 | 26.876 | 19.6421 | 24.616 | 18.8561 | 0.8072 | 0.31082
3 | 2 | 1900-08-18 12:03 | 2021-11-26 15:16 | 31.3044 | 30.9927 | 13.9987 | 14.1529 | 47.1383 | 14.666 | 15.2311 | 105.4822 | 1.6251 | 2.906 | 2.9206 | 101616.1 | 105.5507 | 105.5437 | 105.5202 | 14.035 | -2.7246 | -2.4076 | 31.2244 | -2.4068 | 13.3 | 105.4788 | 107.8537 | -2.7426 | -2.4294 | 30.7928 | 0.0039619 | 0.011692 | 0.0039492 | 0.0044574 | 0.0059695 | 0 | 0.0063156 | 0.00075203 | 0.00028013 | 0.00012142 | 0.0001115 | 3.048 | 0.00067555 | 0.00092575 | 0.00090513 | 0.0020639 | 0.0078512 | 0.0076735 | 0.019485 | 0.0085066 | 0 | 0.0006 | 0.0076931 | 0.0025939 | 0.0023334 | 0.0068535 | 10 | 1423 | 1.5811 | 2021-11-26 16:04 | 4.2 | 0 | 14.1 | 0 | 51.18 | 0.044721 | 6.474 | 0.0054772 | 5.124 | 0.0054772 | 0.5118 | 0.00044721
4 | 3 | 1900-10-08 02:48 | 2021-11-26 16:07 | 52.4709 | 51.9925 | 13.9999 | 14.1411 | 27.9993 | 14.6542 | 15.1375 | 105.4824 | 0.96603 | 2.9038 | 2.9185 | 101541.9 | 105.5487 | 105.5382 | 105.5149 | 14.0299 | 4.4419 | 4.4416 | 52.3772 | 4.441 | 13.2 | 105.4762 | 107.7329 | 4.4513 | 4.4447 | 51.7955 | 0.0060425 | 0.019565 | 0.0044636 | 0.0040917 | 0.0032 | 0.0006 | 0.0031937 | 0.0005509 | 8.8635e-05 | 0.0001444 | 0.00014494 | 4.3463 | 0.00033054 | 0.00048724 | 0.00045474 | 0.00086862 | 0.0010985 | 0.0013033 | 0.0071511 | 0.0024141 | 0 | 0.0013266 | 0.0119 | 0.0016096 | 0.001683 | 0.005041 | 10 | 1474 | 1.5811 | 2021-11-26 16:55 | 9.3 | 0 | 14.1 | 0 | 72.98 | 0.13038 | 9.036 | 0.011402 | 7.306 | 0.011402 | 0.7298 | 0.0013038
5 | 4 | 1900-11-27 20:30 | 2021-11-26 16:57 | 74.5954 | 74.0064 | 13.9999 | 14.1221 | 19.6715 | 14.66 | 14.8294 | 105.4834 | 0.67899 | 2.9049 | 2.9196 | 101579.7 | 105.5429 | 105.5322 | 105.5094 | 14.007 | 9.5405 | 9.5401 | 74.4376 | 9.54 | 13.2 | 105.4679 | 107.7445 | 9.5899 | 9.5826 | 73.7697 | 0.0060425 | 0.02635 | 0.0046378 | 0.0028548 | 0.0016 | 0 | 0.0032048 | 0.00050576 | 3.0936e-05 | 9.1064e-05 | 9.9875e-05 | 5.1 | 0.00033188 | 0.00048583 | 0.0005032 | 0.0015414 | 0.0011815 | 0.0011605 | 0.0079824 | 0.0015167 | 0 | 0.00053852 | 0.014943 | 0.0011645 | 0.0012459 | 0.0071982 | 10 | 1525 | 1.5811 | 2021-11-26 17:46 | 13.06 | 0.054772 | 14.1 | 0 | 93.64 | 0.30496 | 11.438 | 0.041473 | 9.406 | 0.033615 | 0.9364 | 0.0030496
6 | 5 | 1901-01-17 14:07 | 2021-11-26 17:48 | 95.9094 | 95.0286 | 14.0031 | 14.1444 | 15.283 | 14.656 | 15.0233 | 105.4834 | 0.52768 | 2.9037 | 2.9184 | 101539.2 | 105.5495 | 105.5409 | 105.5184 | 14.0299 | 13.3097 | 13.3096 | 95.4136 | 13.3095 | 13.2 | 105.4768 | 107.7821 | 13.3833 | 13.3758 | 94.7014 | 0.02031 | 0.027761 | 0.0046375 | 0.0030598 | 0.0032496 | 0 | 0.0084744 | 0.0013309 | 8.8699e-05 | 0.00021665 | 0.00020701 | 6.7498 | 0.00048233 | 0.00063889 | 0.0006531 | 0.0021212 | 0.0037296 | 0.0035744 | 0.018405 | 0.0034451 | 0 | 0.0004 | 0.0081264 | 0.0049927 | 0.0049566 | 0.023729 | 10 | 1576 | 1.5811 | 2021-11-26 18:37 | 9.3 | 0 | 14.1 | 0 | 72.88 | 0.083666 | 9.016 | 0.0054772 | 7.288 | 0.0083666 | 0.7288 | 0.00083666
7 | 6 | 1901-03-09 07:45 | 2021-11-26 18:39 | 74.42 | 73.9905 | 14.0007 | 14.091 | 19.7073 | 14.652 | 15.1168 | 105.4825 | 0.68019 | 2.9033 | 2.918 | 101525.6 | 105.5346 | 105.5191 | 105.4958 | 13.9905 | 9.5146 | 9.5145 | 74.3945 | 9.5147 | 13.2 | 105.461 | 107.8383 | 9.5532 | 9.546 | 73.748 | 0.0050536 | 0.030551 | 0.0049874 | 0.0041149 | 0.0013416 | 1.7764e-15 | 0.0021094 | 0.0010028 | 9.21e-05 | 0.00012365 | 0.00012755 | 4.8 | 0.00037865 | 0.00058747 | 0.00063302 | 0.0034622 | 0.0034698 | 0.0034969 | 0.0095147 | 0.0033079 | 0 | 0.0010954 | 0.0078386 | 0.0043222 | 0.0043009 | 0.017037 | 10 | 1626 | 1.5811 | 2021-11-26 19:27 | 4.2 | 0 | 14.1 | 0 | 51.12 | 0.044721 | 6.454 | 0.0054772 | 5.108 | 0.0044721 | 0.5112 | 0.00044721
8 | 7 | 1901-04-28 11:23 | 2021-11-26 19:29 | 52.3201 | 52.0182 | 14.0034 | 14.0936 | 28.0891 | 14.659 | 15.1158 | 105.4823 | 0.96903 | 2.9047 | 2.9194 | 101573 | 105.5357 | 105.5207 | 105.4975 | 13.9915 | 4.3994 | 4.3997 | 52.3509 | 4.4002 | 13.2 | 105.4624 | 107.7919 | 4.4112 | 4.4044 | 51.7997 | 0.013621 | 0.021342 | 0.0048435 | 0.00057131 | 0.0066608 | 0.001 | 0.022259 | 0.0010425 | 0.0001334 | 0.00024004 | 0.00025223 | 8.7521 | 0.00020559 | 0.00036552 | 0.00036839 | 0.0033563 | 0.0045003 | 0.0039163 | 0.0082943 | 0.0031258 | 0 | 0.0010198 | 0.0089874 | 0.0032945 | 0.0033127 | 0.011921 | 10 | 1676 | 1.5811 | 2021-11-26 20:17 | -2.7 | 0 | 14.1 | 0 | 30.16 | 0.054772 | 3.91 | 0 | 3.004 | 0.0054772 | 0.3016 | 0.00054772
9 | 8 | 1901-06-18 03:32 | 2021-11-26 20:20 | 31.1929 | 31.0028 | 13.9989 | 14.0931 | 47.303 | 14.6644 | 14.7871 | 105.4823 | 1.6313 | 2.9053 | 2.9199 | 101595.4 | 105.5342 | 105.5209 | 105.4976 | 13.9908 | -2.7557 | -2.4361 | 31.2398 | -2.7561 | 13.3 | 105.4609 | 107.7978 | -2.7959 | -2.4768 | 30.7867 | 0.012829 | 0.016495 | 0.0040755 | 0.00034928 | 0.01922 | 0.0019596 | 0.0032848 | 0.00072694 | 0.00065103 | 0.00023502 | 0.00024539 | 6.5909 | 0.00015937 | 0.00023282 | 0.00025102 | 0.0023044 | 0.0033077 | 0.0035152 | 0.0081729 | 0.0049097 | 0 | 0.001578 | 0.0070316 | 0.0056679 | 0.0049619 | 0.012556 | 10 | 1727 | 1.5811 | 2021-11-26 21:08 | -15.08 | 0.044721 | 14 | 0 | 10.08 | 0.044721 | 1.368 | 0.0044721 | 0.998 | 0.0044721 | 0.1008 | 0.00044721
10 | 9 | 1901-08-07 18:46 | 2021-11-26 21:10 | 10.0625 | 10.0005 | 14.0039 | 14.0991 | 149.4886 | 14.6676 | 15.1106 | 105.4818 | 5.1558 | 2.9061 | 2.9207 | 101617.8 | 105.5299 | 105.5223 | 105.4989 | 13.9801 | -17.2192 | -15.4225 | 9.9932 | -15.3666 | 13.6989 | 105.4562 | 107.7768 | -17.348 | -15.5323 | 9.7353 | 0.0037497 | 0.0061187 | 0.0043702 | 0.0048675 | 0.052527 | 0.0008 | 0.12302 | 0.0006998 | 0.0019115 | 0.00013512 | 0.00012266 | 4.2379 | 0.00050805 | 0.00069581 | 0.00066051 | 0.0032908 | 0.22073 | 0.24274 | 0.12245 | 0.092575 | 0.0031468 | 0.0017776 | 0.018843 | 0.0040174 | 0.0036669 | 0.0029397 | 10 | 1908 | 1.5811 | 2021-11-27 00:09 | -5.58 | 0.044721 | 28 | 0 | 9.96 | 0.054772 | 3.078 | 0.0083666 | 2.338 | 0.0083666 | 0.0996 | 0.00054772
11 | 10 | 1902-02-04 13:34 | 2021-11-27 00:11 | 10.0455 | 10.0002 | 28.0022 | 28.0807 | 149.8462 | 14.6772 | 15.1693 | 110.9068 | 5.1683 | 2.9079 | 2.9223 | 101681.9 | 110.9569 | 110.9438 | 110.9409 | 27.9428 | -6.407 | -5.6818 | 10.0483 | -5.681 | 27.6 | 110.8852 | 107.7562 | -6.6855 | -5.9345 | 9.7668 | 0.0014992 | 0.0040306 | 0.0049744 | 0.006291 | 0.021264 | 0.0009798 | 0.053885 | 0.00063248 | 0.00081732 | 9.0848e-05 | 9.5203e-05 | 2.5865 | 0.00075724 | 0.0010142 | 0.00095991 | 0.0026063 | 0.010397 | 0.008627 | 0.0061031 | 0.0063911 | 0 | 0.00087178 | 0.010793 | 0.0024368 | 0.0021959 | 0.0020971 | 10 | 1959 | 1.5811 | 2021-11-27 01:00 | 9.38 | 0.044721 | 28.1 | 0 | 30.96 | 0.054772 | 9.062 | 0.0083666 | 7.33 | 0.0070711 | 0.3096 | 0.00054772
12 | 11 | 1902-03-27 06:06 | 2021-11-27 01:02 | 31.162 | 31.0018 | 28.0007 | 28.0892 | 47.3865 | 14.6752 | 15.2399 | 110.9069 | 1.6339 | 2.9075 | 2.9218 | 101665.1 | 110.9604 | 110.9472 | 110.9449 | 27.9511 | 9.3662 | 9.3655 | 31.1882 | 9.3648 | 27.2 | 110.8878 | 107.748 | 9.3262 | 9.3207 | 30.8906 | 0.0087856 | 0.0096782 | 0.0061472 | 0.0031124 | 0.012687 | 0.0009798 | 0.0045537 | 0.00070592 | 0.00034449 | 6.1093e-05 | 6.2603e-05 | 2.0224 | 0.00049478 | 0.00072862 | 0.00074181 | 0.0012556 | 0.0035059 | 0.0041975 | 0.0054604 | 0.004767 | 0 | 0.00074833 | 0.0079928 | 0.0038266 | 0.0038083 | 0.0070536 | 10 | 2009 | 1.5811 | 2021-11-27 01:50 | 17.02 | 0.044721 | 28.02 | 0.044721 | 51.22 | 0.044721 | 14.574 | 0.0054772 | 12.204 | 0.0054772 | 0.5122 | 0.00044721
13 | 12 | 1902-05-16 22:15 | 2021-11-27 01:52 | 52.2344 | 51.998 | 28.0015 | 28.078 | 28.1546 | 14.6686 | 15.088 | 110.9082 | 0.97111 | 2.9061 | 2.9205 | 101619.3 | 110.9586 | 110.9424 | 110.9404 | 27.9457 | 17.2645 | 17.2646 | 52.2511 | 17.2641 | 27.1 | 110.8865 | 107.7677 | 17.2856 | 17.28 | 51.9789 | 0.010259 | 0.020818 | 0.0066364 | 0.00032496 | 0.0059498 | 0.0018 | 0.013946 | 0.0016802 | 0.00018071 | 0.00015918 | 0.00016567 | 6.7683 | 0.00028089 | 0.00047543 | 0.00046289 | 0.0031715 | 0.0048306 | 0.0045253 | 0.012201 | 0.003856 | 0 | 0.00067082 | 0.0079745 | 0.0045073 | 0.004491 | 0.017384 | 10 | 2060 | 1.5811 | 2021-11-27 02:41 | 22.76 | 0.054772 | 28 | 0 | 73.2 | 0.070711 | 20.37 | 0.02 | 17.536 | 0.015166 | 0.732 | 0.00070711
14 | 13 | 1902-07-06 15:46 | 2021-11-27 02:43 | 74.305 | 74.0135 | 28.0018 | 28.0703 | 19.7597 | 14.668 | 14.8573 | 110.9085 | 0.68196 | 2.9062 | 2.9205 | 101619.9 | 110.9551 | 110.9392 | 110.9378 | 27.9361 | 22.9512 | 22.9517 | 74.3494 | 22.9527 | 27.1 | 110.8833 | 107.7816 | 22.9902 | 22.984 | 74.0219 | 0.006 | 0.025662 | 0.0048177 | 0.0041485 | 0.0018 | 1.7764e-15 | 0.0039243 | 0.0024772 | 7.3925e-05 | 0.00020554 | 0.00020017 | 6.8184 | 0.00040026 | 0.00057417 | 0.00058755 | 0.0021764 | 0.0050424 | 0.0051899 | 0.024442 | 0.0040392 | 0 | 0.00064031 | 0.014031 | 0.0067101 | 0.006699 | 0.02941 | 10 | 2111 | 1.5811 | 2021-11-27 03:32 | 27 | 0 | 28.02 | 0.044721 | 93.96 | 0.18166 | 25.838 | 0.034205 | 22.75 | 0.032404 | 0.9396 | 0.0018166
15 | 14 | 1902-08-26 09:59 | 2021-11-27 03:34 | 95.6292 | 95.0323 | 27.9996 | 28.1081 | 15.3342 | 14.662 | 14.9972 | 110.9101 | 0.52947 | 2.9052 | 2.9196 | 101584.8 | 110.9663 | 110.9546 | 110.9534 | 27.9701 | 27.1678 | 27.1678 | 95.4151 | 27.1669 | 27.1 | 110.8954 | 107.7624 | 27.2292 | 27.2228 | 95.0682 | 0.026553 | 0.042346 | 0.0072336 | 0.00038013 | 0.0042708 | 0 | 0.0033568 | 0.0023357 | 0.00015319 | 9.7754e-05 | 0.00010158 | 3.1875 | 0.00050227 | 0.00073785 | 0.00076996 | 0.0026915 | 0.0043216 | 0.0039905 | 0.013696 | 0.0042788 | 0 | 0.0012806 | 0.02406 | 0.0072765 | 0.0072868 | 0.036494 | 10 | 2161 | 1.5811 | 2021-11-27 04:22 | 22.7 | 0 | 28 | 0 | 73.04 | 0.054772 | 20.326 | 0.023022 | 17.496 | 0.023022 | 0.7304 | 0.00054772
16 | 15 | 1902-10-16 03:50 | 2021-11-27 04:25 | 74.1066 | 73.9838 | 28.0002 | 28.0277 | 19.8047 | 14.662 | 15.0622 | 110.9099 | 0.68348 | 2.9053 | 2.9196 | 101591 | 110.945 | 110.9237 | 110.9218 | 27.9063 | 22.9076 | 22.9078 | 74.2884 | 22.9089 | 27.0122 | 110.8711 | 107.7514 | 22.9518 | 22.946 | 74.0237 | 0.015063 | 0.022784 | 0.0060146 | 0.00042661 | 0.0039468 | 0 | 0.011719 | 0.0027299 | 0.0001242 | 4.931e-05 | 4.9907e-05 | 1.9494 | 0.00044905 | 0.00070069 | 0.0007391 | 0.0024574 | 0.0032675 | 0.003354 | 0.012938 | 0.0028824 | 0.0144 | 0.0007 | 0.013941 | 0.0069303 | 0.0069356 | 0.030214 | 10 | 2212 | 1.5811 | 2021-11-27 05:13 | 17 | 0 | 28 | 0 | 51.16 | 0.054772 | 14.542 | 0.0044721 | 12.174 | 0.0054772 | 0.5116 | 0.00054772
17 | 16 | 1902-12-05 23:17 | 2021-11-27 05:15 | 52.0927 | 51.9912 | 27.9996 | 28.033 | 28.2322 | 14.6692 | 15.156 | 110.9085 | 0.97397 | 2.9063 | 2.9206 | 101624.3 | 110.948 | 110.9267 | 110.9245 | 27.912 | 17.2293 | 17.2293 | 52.2405 | 17.2292 | 27.1 | 110.8731 | 107.7743 | 17.2404 | 17.2348 | 51.9525 | 0.0090932 | 0.019408 | 0.0041022 | 0.0048685 | 0.0051238 | 0.0009798 | 0.0022303 | 0.0018769 | 0.00027554 | 4.2906e-05 | 4.53e-05 | 1.4866 | 0.00033621 | 0.00051885 | 0.00054656 | 0.00111 | 0.0031658 | 0.002962 | 0.010152 | 0.002858 | 0 | 0.00053852 | 0.014192 | 0.0054723 | 0.0055275 | 0.015028 | 10 | 2263 | 1.5811 | 2021-11-27 06:04 | 9.3 | 0 | 28 | 0 | 30.92 | 0.044721 | 9.036 | 0.0054772 | 7.308 | 0.0044721 | 0.3092 | 0.00044721
18 | 17 | 1903-01-25 16:51 | 2021-11-27 06:06 | 31.0504 | 30.9989 | 28.0024 | 28.0289 | 47.5495 | 14.6728 | 14.8309 | 110.9072 | 1.6394 | 2.907 | 2.9214 | 101651.1 | 110.9448 | 110.9252 | 110.9231 | 27.9068 | 9.3259 | 9.326 | 31.1859 | 9.3271 | 27.2 | 110.8715 | 107.7944 | 9.2744 | 9.2686 | 30.8836 | 0.0074192 | 0.015445 | 0.005052 | 0.0030335 | 0.012281 | 0.0009798 | 0.0037338 | 0.00085852 | 0.0002999 | 0.00015795 | 0.00014672 | 4.4822 | 0.00022694 | 0.00034188 | 0.00033953 | 0.0019148 | 0.0024995 | 0.0022172 | 0.0038437 | 0.0017016 | 0 | 0.00080623 | 0.016596 | 0.0031261 | 0.0031167 | 0.0072606 | 10 | 2314 | 1.5811 | 2021-11-27 06:55 | -6 | 0 | 28 | 0 | 9.6 | 0 | 2.98 | 0 | 2.26 | 0 | 0.096 | 0
19 | 18 | 1903-03-17 09:38 | 2021-11-27 06:57 | 10.036 | 10.0043 | 28.0017 | 28.0562 | 150.0038 | 14.6784 | 14.9864 | 110.906 | 5.174 | 2.9082 | 2.9226 | 101691.5 | 110.9512 | 110.9358 | 110.9328 | 27.9255 | -6.3861 | -5.6632 | 10.0731 | -6.3854 | 27.6 | 110.8789 | 107.8149 | -6.7002 | -5.9477 | 9.7675 | 0.0031097 | 0.0051919 | 0.0066607 | 0.0054087 | 0.045204 | 0.0008 | 0.13836 | 0.0010939 | 0.0015484 | 0.00010717 | 0.00012055 | 3.2939 | 0.00075416 | 0.0010826 | 0.0010636 | 0.0058278 | 0.0052111 | 0.0046763 | 0.0051812 | 0.0043334 | 0 | 0.0018138 | 0.01259 | 0.0043204 | 0.0038289 | 0.003114 | 10 | 2494 | 1.5811 | 2021-11-27 09:55 | 4.4 | 0 | 42 | 0 | 10.2 | 0 | 6.564 | 0.0054772 | 5.2 | 0 | 0.102 | 0
20 | 19 | 1903-09-13 13:22 | 2021-11-27 09:57 | 10.0495 | 10.0191 | 41.9988 | 42.0555 | 149.9906 | 14.6972 | 14.9605 | 116.3189 | 5.1734 | 2.9119 | 2.9259 | 101822.5 | 116.3652 | 116.3474 | 116.3631 | 41.9096 | 4.1877 | 4.1876 | 10.0798 | 4.1879 | 41.4999 | 116.2912 | 107.775 | 3.8497 | 3.8461 | 9.8159 | 0.002985 | 0.0040195 | 0.0046578 | 0.00042907 | 0.041413 | 0.0009798 | 0.091449 | 0.001601 | 0.0014046 | 0.00013803 | 0.00014932 | 2.8018 | 0.00059908 | 0.00083155 | 0.00080899 | 0.001951 | 0.0048922 | 0.0049389 | 0.0030077 | 0.0039403 | 7.1054e-15 | 0.0016 | 0.0099186 | 0.0054622 | 0.0054715 | 0.0037268 | 10 | 2545 | 1.5811 | 2021-11-27 10:46 | 21.42 | 0.044721 | 42 | 0 | 31.06 | 0.054772 | 18.882 | 0.0083666 | 16.152 | 0.0083666 | 0.3106 | 0.00054772
21 | 20 | 1903-11-03 06:11 | 2021-11-27 10:48 | 31.1121 | 30.9985 | 42 | 42.0697 | 47.5485 | 14.702 | 14.9568 | 116.3211 | 1.6395 | 2.9129 | 2.9268 | 101858.9 | 116.3695 | 116.3508 | 116.3672 | 41.9192 | 21.4155 | 21.4153 | 31.197 | 21.4143 | 41.1001 | 116.2957 | 107.7605 | 21.3538 | 21.3506 | 30.9945 | 0.014444 | 0.010148 | 0.0049214 | 0.0093052 | 0.022283 | 1.7764e-15 | 0.0066849 | 0.0019611 | 0.00061298 | 9.3134e-05 | 8.3111e-05 | 3.7 | 0.00053966 | 0.00079922 | 0.00078807 | 0.00083457 | 0.0080378 | 0.0088045 | 0.016108 | 0.0086244 | 0 | 0.00045826 | 0.0078055 | 0.0076645 | 0.0076691 | 0.012163 | 10 | 2595 | 1.5811 | 2021-11-27 11:36 | 29.86 | 0.054772 | 42 | 0 | 51.16 | 0.11402 | 30.242 | 0.058052 | 27.062 | 0.058052 | 0.5116 | 0.0011402
22 | 21 | 1903-12-24 01:15 | 2021-11-27 11:39 | 52.1504 | 51.9954 | 42.0006 | 42.0573 | 28.2699 | 14.7052 | 15.1576 | 116.3234 | 0.97521 | 2.9134 | 2.9272 | 101873.4 | 116.3701 | 116.3482 | 116.3652 | 41.918 | 30.1311 | 30.1312 | 52.3199 | 30.132 | 41.0001 | 116.2953 | 107.7941 | 30.1169 | 30.1136 | 52.1346 | 0.010472 | 0.017909 | 0.0052875 | 0.0061891 | 0.0049639 | 0.0009798 | 0.014141 | 0.0037807 | 0.00018872 | 0.00010075 | 8.9321e-05 | 4.0299 | 0.00029389 | 0.00048527 | 0.00046984 | 0.0017087 | 0.0030952 | 0.0039998 | 0.010361 | 0.0045379 | 7.1054e-15 | 0.00064031 | 0.025243 | 0.010246 | 0.010279 | 0.030465 | 10 | 2646 | 1.5811 | 2021-11-27 12:27 | 36.2 | 0 | 42 | 0 | 73.16 | 0.054772 | 42.304 | 0.040373 | 39.384 | 0.040373 | 0.7316 | 0.00054772
23 | 22 | 1904-02-12 21:44 | 2021-11-27 12:29 | 74.2573 | 73.9898 | 41.9979 | 42.0696 | 19.825 | 14.707 | 14.9147 | 116.3245 | 0.68425 | 2.9138 | 2.9276 | 101889.3 | 116.3701 | 116.349 | 116.3666 | 41.9184 | 36.4233 | 36.4231 | 74.4485 | 36.4233 | 40.9399 | 116.2953 | 107.7593 | 36.4376 | 36.4348 | 74.2828 | 0.031129 | 0.054161 | 0.0042806 | 0.0091569 | 0.0073865 | 0.001 | 0.0082492 | 0.0053969 | 0.0002242 | 9.3791e-05 | 0.00015165 | 2.1 | 0.00044651 | 0.0006402 | 0.00064748 | 0.0011602 | 0.0031822 | 0.0033927 | 0.016929 | 0.0037855 | 0.020246 | 0.00045826 | 0.012611 | 0.014413 | 0.014155 | 0.055755 | 10 | 2697 | 1.5811 | 2021-11-27 13:18 | 40.98 | 0.044721 | 42 | 0 | 94.54 | 0.13416 | 53.848 | 0.060166 | 51.866 | 0.068044 | 0.9454 | 0.0013416
24 | 23 | 1904-04-03 17:49 | 2021-11-27 13:20 | 95.6494 | 95.005 | 41.9992 | 42.1279 | 15.3776 | 14.707 | 14.8756 | 116.3258 | 0.53106 | 2.914 | 2.9277 | 101894.4 | 116.3855 | 116.3716 | 116.3897 | 41.9714 | 41.109 | 41.109 | 95.5555 | 41.1083 | 40.9999 | 116.315 | 107.78 | 41.144 | 41.1411 | 95.3925 | 0.017747 | 0.024796 | 0.0042602 | 0.0031357 | 0.0022716 | 0.001 | 0.0027648 | 0.0039663 | 0.00016814 | 0.00012303 | 0.00013228 | 3.6932 | 0.0007146 | 0.0011136 | 0.0011182 | 0.0058502 | 0.0042587 | 0.0047616 | 0.025526 | 0.0059714 | 7.1054e-15 | 0.00249 | 0.012237 | 0.013891 | 0.013914 | 0.062096 | 10 | 2748 | 1.5811 | 2021-11-27 14:09 | 36.16 | 0.054772 | 42 | 0 | 73.16 | 0.13416 | 42.21 | 0.043589 | 39.284 | 0.048785 | 0.7316 | 0.0013416
25 | 24 | 1904-05-24 14:24 | 2021-11-27 14:11 | 74.0274 | 74.0016 | 42.0012 | 42.0078 | 19.8908 | 14.71 | 15.1396 | 116.3217 | 0.68658 | 2.9145 | 2.9281 | 101914.6 | 116.3572 | 116.3294 | 116.3464 | 41.8841 | 36.3796 | 36.3799 | 74.4014 | 36.3804 | 40.9001 | 116.283 | 107.7992 | 36.372 | 36.3696 | 74.2152 | 0.013176 | 0.027765 | 0.0049581 | 0.0060564 | 0.0038 | 1.7764e-15 | 0.0066205 | 0.0025747 | 0.00021434 | 0.00010593 | 8.5162e-05 | 3.7202 | 0.00059214 | 0.0010162 | 0.0010613 | 0.0035981 | 0.0040719 | 0.0041102 | 0.013094 | 0.0040845 | 0 | 0.0017321 | 0.0094835 | 0.0089722 | 0.0089781 | 0.038149 | 10 | 2799 | 1.5811 | 2021-11-27 15:00 | 29.84 | 0.054772 | 42 | 0 | 51.26 | 0.054772 | 30.236 | 0.023022 | 27.056 | 0.023022 | 0.5126 | 0.00054772
26 | 25 | 1904-07-14 10:49 | 2021-11-27 15:02 | 52.0178 | 51.9996 | 41.9987 | 42.0054 | 28.3529 | 14.7102 | 15.0123 | 116.3222 | 0.978 | 2.9144 | 2.9283 | 101912.5 | 116.3544 | 116.3264 | 116.3436 | 41.8787 | 30.091 | 30.0907 | 52.3051 | 30.0898 | 40.9897 | 116.2798 | 107.8307 | 30.0708 | 30.0673 | 52.1504 | 0.015528 | 0.039279 | 0.0089319 | 0.0031482 | 0.0094255 | 0.0006 | 0.005723 | 0.0040207 | 0.00022617 | 8.588e-05 | 9.9179e-05 | 3.4132 | 0.00018469 | 0.00034454 | 0.00036101 | 0.0014007 | 0.0041056 | 0.0032536 | 0.010712 | 0.0039618 | 0.011765 | 0.0004 | 0.0077685 | 0.0086767 | 0.0087514 | 0.027002 | 10 | 2850 | 1.5811 | 2021-11-27 15:51 | 21.4 | 0 | 42 | 0 | 30.98 | 0.044721 | 18.796 | 0.0054772 | 16.066 | 0.0054772 | 0.3098 | 0.00044721
27 | 26 | 1904-09-03 06:52 | 2021-11-27 15:53 | 30.9913 | 30.9986 | 41.9988 | 41.9954 | 47.768 | 14.712 | 14.8104 | 116.3206 | 1.6474 | 2.9148 | 2.9287 | 101927.7 | 116.349 | 116.3218 | 116.3391 | 41.8666 | 21.3605 | 21.36 | 31.1792 | 21.3619 | 41.0249 | 116.2752 | 107.8114 | 21.285 | 21.2819 | 30.9855 | 0.0055348 | 0.0095186 | 0.0044078 | 0.00053749 | 0.0085954 | 1.7764e-15 | 0.0025655 | 0.0022448 | 0.00036947 | 0.00013963 | 0.00016367 | 4.8384 | 0.00041004 | 0.00058647 | 0.00055843 | 0.0022447 | 0.0047112 | 0.0045819 | 0.0088103 | 0.0034928 | 0.013794 | 0.00074833 | 0.011034 | 0.0082222 | 0.0081287 | 0.014247 | 10 | 2900 | 1.5811 | 2021-11-27 16:41 | 4.5 | 0 | 42 | 0 | 10.2 | 0 | 6.586 | 0.0054772 | 5.216 | 0.0054772 | 0.102 | 0
28 | 27 | 1904-10-24 00:41 | 2021-11-27 16:44 | 10.0611 | 10.0465 | 41.9992 | 42.0258 | 150.0046 | 14.7162 | 15.0083 | 116.3184 | 5.1738 | 2.9154 | 2.9293 | 101949 | 116.3566 | 116.3347 | 116.3507 | 41.8828 | 4.2121 | 4.2128 | 10.1118 | 4.2138 | 41.4999 | 116.281 | 107.8161 | 3.8639 | 3.861 | 9.8432 | 0.0022766 | 0.0029286 | 0.004318 | 0.00040608 | 0.033239 | 0.0014 | 0.08423 | 0.0011514 | 0.0015207 | 0.00016867 | 0.00017871 | 5.3479 | 0.00088031 | 0.0013045 | 0.001231 | 0.0025243 | 0.013544 | 0.014036 | 0.010246 | 0.014477 | 7.1054e-15 | 0.0007746 | 0.0099092 | 0.0055914 | 0.0056476 | 0.0046533 | 10 | 3201 | 1.5811 | 2021-11-27 21:42 | -10.3 | 0 | 21.1 | 0 | 10 | 0 | 2.074 | 0.0054772 | 1.544 | 0.0054772 | 0.1 | 0
29 | 28 | 1905-08-20 07:20 | 2021-11-27 21:44 | 10.0908 | 9.9993 | 20.9969 | 21.1442 | 149.98 | 14.7584 | 15.0475 | 108.1922 | 5.1731 | 2.9239 | 2.9385 | 102245.7 | 108.2598 | 108.2544 | 108.2398 | 20.9962 | -11.6556 | -10.383 | 10.0977 | -10.3813 | 20.6 | 108.1879 | 107.8074 | -11.9584 | -10.6604 | 9.7522 | 0.0015895 | 0.0044 | 0.0082772 | 0.00041097 | 0.021466 | 0.0008 | 0.0434 | 0.00071901 | 0.00072132 | 6.0888e-05 | 5.5761e-05 | 2.0518 | 7.2184e-05 | 0.00010361 | 9.0117e-05 | 0.0033519 | 0.011066 | 0.0091169 | 0.0080204 | 0.0099292 | 0 | 0.0012207 | 0.0081858 | 0.0017727 | 0.0016092 | 0.0013238 | 10 | 3251 | 1.5811 | 2021-11-27 22:32 | 3.5 | 0 | 21.1 | 0 | 31.3 | 0 | 6.166 | 0.0054772 | 4.866 | 0.0054772 | 0.313 | 0
30 | 29 | 1905-10-10 00:58 | 2021-11-27 22:35 | 31.2299 | 31.004 | 20.9985 | 21.1168 | 47.5519 | 14.7594 | 15.0497 | 108.1921 | 1.6396 | 2.924 | 2.9387 | 102251.7 | 108.2519 | 108.243 | 108.2298 | 20.9782 | 3.37 | 3.3696 | 31.31 | 3.3678 | 20.2 | 108.1797 | 107.7924 | 3.292 | 3.2856 | 30.8409 | 0.013962 | 0.01841 | 0.0030106 | 0.0032787 | 0.022975 | 0.00091652 | 0.0092701 | 0.00068708 | 0.00068334 | 5.6832e-05 | 5.8051e-05 | 2.2825 | 0.0006916 | 0.0010072 | 0.0009678 | 0.0027882 | 0.0085921 | 0.0087961 | 0.013648 | 0.0075738 | 3.5527e-15 | 0.0017916 | 0.005745 | 0.0063841 | 0.0063704 | 0.010453 | 10 | 3302 | 1.5811 | 2021-11-27 23:23 | 10.64 | 0.054772 | 21.1 | 0 | 51.24 | 0.054772 | 9.834 | 0.0054772 | 8 | 0 | 0.5124 | 0.00054772
31 | 30 | 1905-11-29 19:44 | 2021-11-27 23:25 | 52.3066 | 51.9982 | 20.9989 | 21.0952 | 28.2889 | 14.7594 | 15.0704 | 108.1932 | 0.9759 | 2.9241 | 2.9387 | 102254.5 | 108.2479 | 108.2353 | 108.2225 | 20.9657 | 10.8589 | 10.8589 | 52.3747 | 10.8595 | 20.1 | 108.1762 | 107.7951 | 10.8525 | 10.8456 | 51.8719 | 0.012131 | 0.031875 | 0.0074806 | 0.00043692 | 0.0057306 | 0.00091652 | 0.012423 | 0.0010483 | 0.00024714 | 7.3639e-05 | 7.326e-05 | 2.5397 | 0.00027971 | 0.00047224 | 0.00045604 | 0.0043589 | 0.0031324 | 0.002927 | 0.013288 | 0.0030451 | 0 | 0.0011662 | 0.0096051 | 0.005025 | 0.0050396 | 0.016542 | 10 | 3353 | 1.5811 | 2021-11-28 00:14 | 16 | 0 | 21.02 | 0.044721 | 72.96 | 0.054772 | 13.706 | 0.0089443 | 11.424 | 0.0089443 | 0.7296 | 0.00054772
32 | 31 | 1906-01-19 16:22 | 2021-11-28 00:16 | 74.3864 | 74.0115 | 21.004 | 21.0852 | 19.8586 | 14.758 | 14.8599 | 108.1937 | 0.68537 | 2.9239 | 2.9385 | 102247.3 | 108.2436 | 108.2313 | 108.2191 | 20.9503 | 16.2433 | 16.2436 | 74.4623 | 16.2438 | 20.0773 | 108.1698 | 107.794 | 16.27 | 16.2628 | 73.8737 | 0.012495 | 0.026597 | 0.0045612 | 0.00025219 | 0.0035553 | 1.7764e-15 | 0.0020737 | 0.0010206 | 4.5969e-05 | 7.2648e-05 | 7.4639e-05 | 1.9519 | 0.00031298 | 0.00046114 | 0.00047243 | 0.0015499 | 0.0038424 | 0.0033067 | 0.016996 | 0.0031847 | 0.019197 | 0.00074833 | 0.0064232 | 0.003128 | 0.003136 | 0.016547 | 10 | 3403 | 1.5811 | 2021-11-28 01:04 | 20.06 | 0.054772 | 21 | 0 | 94.18 | 0.25884 | 17.428 | 0.049699 | 14.808 | 0.043243 | 0.9418 | 0.0025884
33 | 32 | 1906-03-10 17:14 | 2021-11-28 01:06 | 95.7033 | 95.0105 | 21.0021 | 21.1204 | 15.4176 | 14.7532 | 15.0215 | 108.1939 | 0.53229 | 2.923 | 2.9377 | 102213.8 | 108.2526 | 108.2432 | 108.2314 | 20.9782 | 20.2279 | 20.2276 | 95.4762 | 20.2276 | 20.0854 | 108.1807 | 107.7783 | 20.2842 | 20.2765 | 94.8692 | 0.021661 | 0.042184 | 0.0049755 | 0.0048642 | 0.0028914 | 0.0009798 | 0.0054258 | 0.0012764 | 5.7586e-05 | 0.00013139 | 0.00012722 | 4.0694 | 0.00057126 | 0.0007992 | 0.00080317 | 0.0033013 | 0.0031988 | 0.0029823 | 0.010726 | 0.0029927 | 0.018338 | 0.001005 | 0.011496 | 0.00458 | 0.00461 | 0.022939 | 10 | 3454 | 1.5811 | 2021-11-28 01:55 | 16.02 | 0.044721 | 21 | 0 | 73.06 | 0.15166 | 13.708 | 0.026833 | 11.422 | 0.021679 | 0.7306 | 0.0015166
34 | 33 | 1906-04-30 14:04 | 2021-11-28 01:57 | 74.2202 | 74.0096 | 21.0022 | 21.0485 | 19.8796 | 14.74 | 15.1401 | 108.1939 | 0.68614 | 2.9203 | 2.9349 | 102117.9 | 108.2342 | 108.2165 | 108.2038 | 20.9207 | 16.2017 | 16.2016 | 74.3982 | 16.2011 | 20.0172 | 108.158 | 107.7662 | 16.2337 | 16.2264 | 73.874 | 0.014954 | 0.03436 | 0.0049601 | 0.0046219 | 0.0041037 | 0 | 0.0032574 | 0.0016889 | 9.1006e-05 | 6.4296e-05 | 5.778e-05 | 2.6249 | 0.00040631 | 0.000606 | 0.00065988 | 0.0034746 | 0.002053 | 0.0016506 | 0.011581 | 0.0019779 | 0.011903 | 0.0014832 | 0.0053595 | 0.0035285 | 0.0035527 | 0.019555 | 10 | 3505 | 1.5811 | 2021-11-28 02:46 | 10.6 | 0 | 21.06 | 0.054772 | 51.04 | 0.054772 | 9.778 | 0.0044721 | 7.95 | 0 | 0.5104 | 0.00054772
35 | 34 | 1906-06-20 10:52 | 2021-11-28 02:48 | 52.176 | 51.9996 | 21.0012 | 21.0544 | 28.3271 | 14.742 | 14.9998 | 108.1934 | 0.97715 | 2.9209 | 2.9355 | 102138.9 | 108.2368 | 108.219 | 108.2062 | 20.9332 | 10.8158 | 10.8157 | 52.3302 | 10.8156 | 20.1 | 108.1632 | 107.7428 | 10.8173 | 10.8102 | 51.8826 | 0.0056776 | 0.012921 | 0.0048311 | 0.0030308 | 0.0034409 | 1.7764e-15 | 0.0039034 | 0.0015772 | 0.00024513 | 3.5198e-05 | 4.2533e-05 | 0.9434 | 0.00016997 | 0.00035097 | 0.00036879 | 0.0025962 | 0.0025299 | 0.00348 | 0.011568 | 0.0030342 | 0 | 0.001249 | 0.0089231 | 0.0039813 | 0.0039705 | 0.014372 | 10 | 3555 | 1.5811 | 2021-11-28 03:36 | 3.3 | 0 | 21 | 0 | 31 | 0 | 6.09 | 0 | 4.8 | 0 | 0.31 | 0
36 | 35 | 1906-08-10 05:18 | 2021-11-28 03:39 | 31.0991 | 30.9975 | 20.999 | 21.0523 | 47.6907 | 14.74 | 14.8448 | 108.1925 | 1.6443 | 2.9202 | 2.9349 | 102119 | 108.2344 | 108.2181 | 108.2054 | 20.9256 | 3.3 | 3.2994 | 31.2601 | 3.2987 | 20.2 | 108.1593 | 107.7638 | 3.2346 | 3.228 | 30.8359 | 0.0064462 | 0.012966 | 0.004385 | 0.0043334 | 0.0093967 | 0 | 0.0022912 | 0.00062629 | 0.00040362 | 9.4032e-05 | 9.0035e-05 | 2.8983 | 0.00019471 | 0.00030152 | 0.00031862 | 0.0047235 | 0.0072303 | 0.0074193 | 0.012115 | 0.0072283 | 3.5527e-15 | 0.0014177 | 0.013965 | 0.0035978 | 0.0036336 | 0.0071742 | 10 | 3606 | 1.5811 | 2021-11-28 04:27 | -11.32 | 0.044721 | 21 | 0 | 9.1 | 0 | 1.9 | 0 | 1.41 | 0 | 0.091 | 0
37 | 36 | 2465.0151 | 2021-11-28 04:30 | 10.0749 | 10.0291 | 21.0007 | 21.0759 | 150.0088 | 14.7376 | 15.0014 | 108.1918 | 5.1742 | 2.9196 | 2.9343 | 102096.7 | 108.2408 | 108.2285 | 108.2148 | 20.945 | -11.6702 | -10.3959 | 10.119 | -10.3934 | 20.5832 | 108.1674 | 107.7957 | -11.9797 | -10.6797 | 9.775 | 0.0017611 | 0.0044928 | 0.005072 | 0.003335 | 0.023819 | 0.0014967 | 0.048058 | 0.00041592 | 0.00066539 | 0.00025087 | 0.0002438 | 8.1123 | 0.00076798 | 0.0010794 | 0.0010354 | 0.0028281 | 0.0071547 | 0.0079982 | 0.010543 | 0.015958 | 0.011079 | 0.001562 | 0.014221 | 0.002058 | 0.0018641 | 0.002766 | 10 | 3847 | 1.5811 | 2021-11-28 08:28 | -43.62 | 3.8206 | 0.1 | 0 | 1.42 | 0.82885 | 0.08 | 0.044721 | 0.054 | 0.031305 | 0.0142 | 0.0082885
38 | 37 | 2705.778 | 2021-11-28 08:30 | 10.1665 | 10.0004 | 0.00095259 | 0.22676 | 148.5792 | 14.7334 | 14.9613 | 100.0325 | 5.1245 | 2.9187 | 2.9337 | 102066.1 | 100.1203 | 100.1168 | 100.0693 | 0.10192 | -27.8264 | -25.1229 | 10.1542 | -25.1235 | -0.3 | 100.0399 | 107.7566 | -28.0971 | -25.3763 | 9.7026 | 0.0046923 | 0.0085512 | 0.0063857 | 0.0048825 | 0.0666 | 0.00091652 | 0.11882 | 0.0011991 | 0.0021945 | 5.0144e-05 | 4.8338e-05 | 2.119 | 0.00025445 | 0.00031906 | 0.00031549 | 0.0021532 | 0.0028478 | 0.0030411 | 0.0025047 | 0.0029128 | 0 | 0.0007 | 0.020959 | 0.0047582 | 0.0043816 | 0.0042495 | 10 | 3898 | 1.5811 | 2021-11-28 09:19 | -13.3 | 0 | 0.3 | 0 | 30.66 | 0.054772 | 1.6 | 0 | 1.18 | 0 | 0.3066 | 0.00054772
39 | 38 | 2756.6226 | 2021-11-28 09:21 | 31.635 | 30.991 | -0.0040716 | 0.27874 | 46.8414 | 14.7288 | 15.1775 | 100.0325 | 1.615 | 2.918 | 2.9329 | 102040.2 | 100.1434 | 100.1389 | 100.0901 | 0.15605 | -14.8382 | -13.2543 | 31.3822 | -13.2549 | -0.6 | 100.0604 | 107.7766 | -14.867 | -13.2853 | 30.6701 | 0.0089016 | 0.017446 | 0.0049322 | 0.0037464 | 0.012224 | 0.0009798 | 0.0071256 | 0.00063734 | 0.00036252 | 6.7621e-05 | 5.6857e-05 | 1.6 | 0.0004406 | 0.00056059 | 0.00046982 | 0.00034202 | 0.0018613 | 0.0023208 | 0.0058395 | 0.0037499 | 1.1102e-16 | 0.0008 | 0.010315 | 0.0034318 | 0.003117 | 0.0076752 | 10 | 3949 | 1.5811 | 2021-11-28 10:10 | -7.5 | 0.070711 | 0.24 | 0.054772 | 51.54 | 0.27019 | 2.628 | 0.013038 | 1.98 | 0.0070711 | 0.5154 | 0.0027019
40 | 39 | 1907-09-07 11:27 | 2021-11-28 10:12 | 52.9907 | 51.9999 | -0.0012876 | 0.25853 | 27.8588 | 14.726 | 15.0935 | 100.0326 | 0.96098 | 2.9176 | 2.9326 | 102034.4 | 100.1376 | 100.1301 | 100.0819 | 0.14289 | -8.4165 | -7.4772 | 52.5384 | -7.4774 | -0.7 | 100.0558 | 107.7798 | -8.3919 | -7.4613 | 51.6023 | 0.0084972 | 0.0221 | 0.005837 | 0.0037389 | 0.0044944 | 1.7764e-15 | 0.012367 | 0.00091888 | 0.00010392 | 4.371e-05 | 4.5003e-05 | 1.2 | 0.00035055 | 0.00047066 | 0.00043807 | 0.0015257 | 0.0049523 | 0.0040651 | 0.015288 | 0.0038521 | 0 | 0.0004 | 0.0057045 | 0.0027257 | 0.0024359 | 0.0083188 | 10 | 3999 | 1.5811 | 2021-11-28 11:00 | -3.44 | 0.054772 | 0.2 | 0 | 73.32 | 0.34205 | 3.67 | 0.021213 | 2.816 | 0.016733 | 0.7332 | 0.0034205
41 | 40 | 1907-10-27 13:02 | 2021-11-28 11:02 | 75.3641 | 74.0535 | 0.0038595 | 0.24467 | 19.557 | 14.7252 | 14.8888 | 100.0323 | 0.67488 | 2.9172 | 2.9322 | 102018.7 | 100.1323 | 100.1244 | 100.0766 | 0.1316 | -3.8369 | -3.3949 | 74.626 | -3.3951 | -0.7 | 100.0509 | 107.8205 | -3.7762 | -3.3476 | 73.5057 | 0.035061 | 0.050546 | 0.0064436 | 0.0046943 | 0.0084134 | 0.0009798 | 0.054625 | 0.0007689 | 0.00030201 | 0.00020828 | 0.00021686 | 7.484 | 0.00023742 | 0.00034943 | 0.00034385 | 0.0029144 | 0.0048827 | 0.0043621 | 0.022037 | 0.0044003 | 0 | 0.0013 | 0.01522 | 0.0068132 | 0.0060166 | 0.033565 | 10 | 4049 | 1.5811 | 2021-11-28 11:50 | -0.5 | 0 | 0.2 | 0 | 93.62 | 0.13038 | 4.634 | 0.0054772 | 3.594 | 0.0054772 | 0.9362 | 0.0013038
42 | 41 | 1907-12-16 15:28 | 2021-11-28 11:52 | 96.833 | 94.9938 | -0.0016136 | 0.2612 | 15.2011 | 14.7182 | 15.0137 | 100.0324 | 0.5248 | 2.916 | 2.931 | 101975.6 | 100.1382 | 100.1313 | 100.0834 | 0.14334 | -0.42569 | -0.37425 | 95.9531 | -0.42545 | -0.7 | 100.056 | 107.7848 | -0.38546 | -0.34605 | 94.3224 | 0.014227 | 0.037214 | 0.0046512 | 0.00048552 | 0.0020396 | 0.0006 | 0.0037987 | 0.00090284 | 1.3274e-05 | 7.1953e-05 | 6.8084e-05 | 3.2924 | 0.00029986 | 0.00038205 | 0.0003834 | 0.0010945 | 0.0021119 | 0.0016805 | 0.014817 | 0.0022413 | 0 | 0.00044721 | 0.010167 | 0.0023753 | 0.0021074 | 0.017312 | 10 | 4099 | 1.5811 | 2021-11-28 12:40 | -3.98 | 0.044721 | 0.2 | 0 | 69.92 | 0.22804 | 3.508 | 0.0083666 | 2.68 | 0.0070711 | 0.6992 | 0.0022804
43 | 42 | 1908-02-04 18:30 | 2021-11-28 12:42 | 75.2034 | 73.995 | -0.00087338 | 0.22093 | 19.5877 | 14.717 | 15.1108 | 100.0321 | 0.67594 | 2.9159 | 2.9309 | 101973 | 100.1261 | 100.1153 | 100.0672 | 0.10843 | -3.8298 | -3.3888 | 74.7863 | -3.8306 | -0.7 | 100.0421 | 107.7768 | -3.8035 | -3.3719 | 73.4787 | 0.018919 | 0.039476 | 0.0039561 | 0.0045038 | 0.005142 | 0.001 | 0.0066423 | 0.00060022 | 0.00010729 | 0.0001114 | 0.00011591 | 3.1623 | 0.00018727 | 0.0002907 | 0.00028759 | 0.0015757 | 0.0038029 | 0.003608 | 0.014342 | 0.003637 | 0 | 0.0013 | 0.010017 | 0.0017771 | 0.0015477 | 0.0089339 | 10 | 4149 | 1.5811 | 2021-11-28 13:30 | -8.5 | 0 | 0.2 | 0 | 47.36 | 0.089443 | 2.42 | 0 | 1.818 | 0.0044721 | 0.4736 | 0.00089443
44 | 43 | 1908-03-25 20:11 | 2021-11-28 13:32 | 52.8728 | 52.0047 | -0.00035968 | 0.22745 | 27.9082 | 14.7192 | 15.1434 | 100.0317 | 0.96279 | 2.9161 | 2.9311 | 101981.4 | 100.1288 | 100.1178 | 100.0695 | 0.12125 | -8.4711 | -7.5247 | 52.4045 | -7.522 | -0.7 | 100.0473 | 107.7629 | -8.4243 | -7.4906 | 51.5868 | 0.013183 | 0.032533 | 0.0041518 | 0.0050739 | 0.0081388 | 0.0009798 | 0.029855 | 0.00043171 | 0.00023628 | 4.9402e-05 | 4.8978e-05 | 1.7436 | 0.00011892 | 0.00019605 | 0.00020743 | 0.0029815 | 0.0046233 | 0.0044275 | 0.020965 | 0.0049268 | 0 | 0.0014177 | 0.010819 | 0.0030937 | 0.0027884 | 0.012888 | 10 | 4199 | 1.5811 | 2021-11-28 14:20 | -13.4 | 0 | 0.2 | 0 | 30.5 | 0 | 1.59 | 0 | 1.17 | 0 | 0.305 | 0
45 | 44 | 1908-05-14 21:48 | 2021-11-28 14:22 | 31.5077 | 31.0014 | 0.00035769 | 0.22117 | 46.9948 | 14.7172 | 14.8488 | 100.0318 | 1.6204 | 2.9155 | 2.9305 | 101957.3 | 100.1256 | 100.1158 | 100.0677 | 0.10743 | -14.9062 | -13.3157 | 31.3168 | -13.3151 | -0.6 | 100.0419 | 107.7851 | -14.9197 | -13.3331 | 30.667 | 0.0027495 | 0.017883 | 0.0069034 | 0.00036336 | 0.005173 | 0.0009798 | 0.0018292 | 0.00086094 | 0.00036925 | 0.0001421 | 0.00014047 | 4.9204 | 5.2516e-05 | 9.5777e-05 | 9.4722e-05 | 0.0020469 | 0.0028524 | 0.0028464 | 0.010187 | 0.0035951 | 0 | 0.00053852 | 0.012824 | 0.0029495 | 0.0026738 | 0.0073202 | 10 | 4249 | 1.5811 | 2021-11-28 15:10 | -24.84 | 0.089443 | 0.2 | 0 | 10.24 | 0.054772 | 0.554 | 0.0054772 | 0.39 | 0 | 0.1024 | 0.00054772
46 | 45 | 1908-07-04 03:48 | 2021-11-28 15:13 | 10.1542 | 9.9993 | 0.0048414 | 0.21363 | 148.6088 | 14.7182 | 14.984 | 100.0317 | 5.1253 | 2.9158 | 2.9307 | 101971.2 | 100.1172 | 100.1119 | 100.064 | 0.092802 | -27.8407 | -25.1366 | 10.1471 | -25.1381 | -0.3 | 100.0365 | 107.7899 | -28.1112 | -25.3895 | 9.6986 | 0.0010416 | 0.0062219 | 0.0066886 | 0.0047108 | 0.016333 | 0.0006 | 0.04096 | 0.00099201 | 0.0012935 | 7.4696e-05 | 6.8408e-05 | 2.6 | 0.00032154 | 0.00045342 | 0.00040552 | 0.0025658 | 0.0084802 | 0.0069363 | 0.0052785 | 0.0048038 | 0 | 0.00067082 | 0.0095333 | 0.0033748 | 0.0031305 | 0.0032098 | 10 | 4430 | 1.5811 | 2021-11-28 18:11 | -15.16 | 0.11402 | 14.1 | 0 | 10 | 0.070711 | 1.36 | 0.012247 | 0.992 | 0.010954 | 0.1 | 0.00070711
47 | 46 | 1908-12-31 23:33 | 2021-11-28 18:13 | 10.0901 | 9.9961 | 13.9965 | 14.1398 | 149.3574 | 14.6962 | 15.0373 | 105.4816 | 5.1513 | 2.9114 | 2.9262 | 101816.4 | 105.5453 | 105.5385 | 105.5141 | 14.0232 | -17.0317 | -15.2408 | 10.0963 | -15.24 | 13.6965 | 105.4741 | 107.7987 | -17.3154 | -15.5033 | 9.7352 | 0.0023608 | 0.0016318 | 0.0045698 | 0.0047221 | 0.026078 | 0.001077 | 0.014398 | 0.00052081 | 0.00074661 | 0.00010689 | 0.00010389 | 3.3823 | 0.00056118 | 0.00072002 | 0.00070918 | 0.0041564 | 0.0062213 | 0.0059421 | 0.005964 | 0.0072731 | 0.0038652 | 0.0019723 | 0.0054965 | 0.0022118 | 0.0020427 | 0.0011045 | 10 | 4480 | 1.5811 | 2021-11-28 19:01 | -2.36 | 0.054772 | 14.1 | 0 | 30.9 | 0.070711 | 4.006 | 0.0089443 | 3.084 | 0.0054772 | 0.309 | 0.00070711
48 | 47 | 1909-02-19 23:44 | 2021-11-28 19:03 | 31.2868 | 30.9975 | 13.9984 | 14.1427 | 47.2871 | 14.704 | 15.087 | 105.4821 | 1.6304 | 2.9133 | 2.9281 | 101882.3 | 105.5467 | 105.5392 | 105.5156 | 14.0268 | -2.7293 | -2.4124 | 31.2274 | -2.4127 | 13.3 | 105.4752 | 107.8018 | -2.7516 | -2.4382 | 30.793 | 0.0083786 | 0.01 | 0.0038742 | 0.00028705 | 0.012793 | 1.7764e-15 | 0.018944 | 0.00046429 | 0.00038249 | 0.00015498 | 0.00015985 | 4.9608 | 0.00050172 | 0.00072519 | 0.0007093 | 0.0039848 | 0.0048718 | 0.0036372 | 0.010681 | 0.0028625 | 0 | 0.0011662 | 0.0073595 | 0.0031187 | 0.0027796 | 0.0068344 | 10 | 4530 | 1.5811 | 2021-11-28 19:51 | 4.3 | 0 | 14.1 | 0 | 51.52 | 0.083666 | 6.52 | 0.01 | 5.164 | 0.0054772 | 0.5152 | 0.00083666
49 | 48 | 1909-04-11 00:48 | 2021-11-28 19:54 | 52.441 | 51.9863 | 13.9986 | 14.1318 | 28.1184 | 14.708 | 15.0379 | 105.4824 | 0.96988 | 2.914 | 2.9288 | 101902.5 | 105.5456 | 105.5349 | 105.5114 | 14.0207 | 4.4506 | 4.4505 | 52.4424 | 4.4512 | 13.2 | 105.4736 | 107.8103 | 4.4451 | 4.4376 | 51.7981 | 0.017048 | 0.021859 | 0.0042245 | 0.0031464 | 0.0089084 | 1.7764e-15 | 0.0031956 | 0.00074108 | 0.0002084 | 4.4846e-05 | 4.6791e-05 | 1.5 | 0.00034433 | 0.00046146 | 0.00047661 | 0.0019805 | 0.0021506 | 0.0018262 | 0.010389 | 0.0023433 | 0 | 0.0010198 | 0.016817 | 0.0031756 | 0.0031864 | 0.012514 | 10 | 4581 | 1.5811 | 2021-11-28 20:42 | 9.24 | 0.054772 | 14.1 | 0 | 72.46 | 0.13416 | 8.992 | 0.013038 | 7.27 | 0.01 | 0.7246 | 0.0013416
50 | 49 | 1909-05-31 06:03 | 2021-11-28 20:44 | 74.5787 | 73.9945 | 13.9988 | 14.12 | 19.7397 | 14.7078 | 14.9604 | 105.4818 | 0.68124 | 2.9141 | 2.929 | 101910.1 | 105.5408 | 105.5301 | 105.5071 | 14.0039 | 9.5543 | 9.5545 | 74.5252 | 9.5543 | 13.2 | 105.4667 | 107.751 | 9.585 | 9.5768 | 73.7669 | 0.011357 | 0.021862 | 0.0036966 | 0.0045557 | 0.0033526 | 0.0006 | 0.0091029 | 0.00092728 | 0.00012876 | 0.00011198 | 0.00011706 | 3.1765 | 0.00021521 | 0.00036442 | 0.0003649 | 0.0014974 | 0.0062273 | 0.005986 | 0.026876 | 0.0047356 | 0 | 0.00064031 | 0.0091991 | 0.0040464 | 0.0040637 | 0.017755 | 10 | 4631 | 1.5811 | 2021-11-28 21:32 | 13.06 | 0.054772 | 14.1 | 0 | 93.36 | 0.18166 | 11.424 | 0.013416 | 9.392 | 0.010954 | 0.9336 | 0.0018166
51 | 50 | 1909-07-20 08:54 | 2021-11-28 21:34 | 95.8981 | 95.0236 | 14.0015 | 14.1437 | 15.3432 | 14.712 | 14.9087 | 105.4832 | 0.52974 | 2.9149 | 2.9298 | 101937.7 | 105.5483 | 105.5398 | 105.5171 | 14.0289 | 13.3285 | 13.3287 | 95.5455 | 13.3277 | 13.2 | 105.4757 | 107.7479 | 13.3833 | 13.3747 | 94.7106 | 0.023016 | 0.035222 | 0.0048974 | 0.0033511 | 0.0036932 | 1.7764e-15 | 0.0031429 | 0.0010202 | 9.8016e-05 | 0.00010098 | 0.00010129 | 3.3481 | 0.00046333 | 0.00059686 | 0.00061967 | 0.002032 | 0.0020781 | 0.0019573 | 0.0086583 | 0.0027065 | 0 | 0.00078102 | 0.0088991 | 0.0037874 | 0.003817 | 0.018488 | 10 | 4681 | 1.5811 | 2021-11-28 22:22 | 9.3 | 0 | 14.1 | 0 | 72.9 | 0.14142 | 9.026 | 0.020736 | 7.298 | 0.019235 | 0.729 | 0.0014142
52 | 51 | 1909-09-08 10:33 | 2021-11-28 22:24 | 74.403 | 73.9688 | 14.0008 | 14.091 | 19.7993 | 14.717 | 14.9242 | 105.4827 | 0.6833 | 2.9158 | 2.9307 | 101971.4 | 105.533 | 105.518 | 105.4945 | 13.9861 | 9.5206 | 9.5204 | 74.4334 | 9.5197 | 13.2 | 105.4602 | 107.7836 | 9.5511 | 9.5428 | 73.7462 | 0.048499 | 0.052333 | 0.005129 | 0.0044091 | 0.011964 | 0.001 | 0.026718 | 0.00092897 | 0.00043101 | 5.5493e-05 | 5.7261e-05 | 1.4283 | 0.00032998 | 0.00048014 | 0.00048886 | 0.0039515 | 0.011465 | 0.011474 | 0.056502 | 0.011911 | 0 | 0.001249 | 0.010512 | 0.010372 | 0.010391 | 0.049283 | 10 | 4731 | 1.5811 | 2021-11-28 23:12 | 4.2 | 0 | 14.1 | 0 | 51.2 | 0 | 6.472 | 0.0044721 | 5.12 | 0 | 0.512 | 0
53 | 52 | 1909-10-28 13:18 | 2021-11-28 23:14 | 52.32 | 51.9944 | 13.9984 | 14.0946 | 28.206 | 14.7198 | 15.0909 | 105.4823 | 0.97295 | 2.9161 | 2.931 | 101979.2 | 105.5357 | 105.5207 | 105.4971 | 13.9911 | 4.4081 | 4.408 | 52.3858 | 4.4081 | 13.2 | 105.4616 | 107.8065 | 4.4105 | 4.4026 | 51.794 | 0.015484 | 0.018745 | 0.0058823 | 0.0040211 | 0.0082365 | 0.0006 | 0.050962 | 0.00071152 | 0.00028217 | 5.055e-05 | 4.784e-05 | 1.4697 | 0.00013826 | 0.00028034 | 0.00031143 | 0.0030442 | 0.0022415 | 0.0019958 | 0.0084067 | 0.0022764 | 0 | 0.0008 | 0.011323 | 0.0047396 | 0.0047454 | 0.017843 | 10 | 4781 | 1.5811 | 2021-11-29 00:02 | -2.7 | 0 | 14.1 | 0 | 30.18 | 0.044721 | 3.91 | 0 | 3.004 | 0.0054772 | 0.3018 | 0.00044721
54 | 53 | 1909-12-17 14:57 | 2021-11-29 00:04 | 31.1827 | 30.9966 | 14.0008 | 14.093 | 47.4852 | 14.716 | 14.9685 | 105.4817 | 1.637 | 2.9153 | 2.9301 | 101952.9 | 105.5327 | 105.5193 | 105.4958 | 13.9866 | -2.7455 | -2.4267 | 31.2712 | -2.7456 | 13.3 | 105.4592 | 107.8128 | -2.7972 | -2.4787 | 30.7897 | 0.005008 | 0.010196 | 0.0048688 | 0.00044091 | 0.0077045 | 0 | 0.003947 | 0.00088348 | 0.00044486 | 8.7703e-05 | 8.9397e-05 | 3.2696 | 0.00011773 | 0.00022415 | 0.00022748 | 0.0038139 | 0.0019376 | 0.0018041 | 0.0094821 | 0.0026479 | 0 | 0.0015362 | 0.0071467 | 0.0030271 | 0.0026749 | 0.0067697 | 10 | 4831 | 1.5811 | 2021-11-29 00:52 | -21.58 | 0.13038 | 14 | 0 | 5.44 | 0.054772 | 0.754 | 0.011402 | 0.538 | 0.0083666 | 0.0544 | 0.00054772
55 | 54 | 1910-02-05 16:26 | 2021-11-29 00:54 | 10.0632 | 9.9999 | 13.9988 | 14.096 | 149.9344 | 14.7124 | 15.0801 | 105.4813 | 5.1719 | 2.9146 | 2.9294 | 101929.9 | 105.529 | 105.5213 | 105.4975 | 13.9779 | -17.1344 | -15.3371 | 10.0339 | -15.3452 | 13.6789 | 105.4558 | 107.7843 | -17.3504 | -15.5352 | 9.7342 | 0.003941 | 0.0055568 | 0.0038918 | 0.0044026 | 0.060742 | 0.0008 | 0.11777 | 0.00064052 | 0.0017982 | 9.2146e-05 | 9.3558e-05 | 3.5341 | 0.00086042 | 0.0011546 | 0.0010646 | 0.0058636 | 0.056895 | 0.052963 | 0.049426 | 0.050145 | 0.019976 | 0.0025219 | 0.0063535 | 0.00482 | 0.0043906 | 0.0040905 | 10 | 5011 | 1.5811 | 2021-11-29 03:52 | -5.4 | 0 | 28 | 0 | 10.12 | 0.044721 | 3.126 | 0.0054772 | 2.376 | 0.0054772 | 0.1012 | 0.00044721
56 | 55 | 1910-08-04 16:32 | 2021-11-29 03:54 | 10.0483 | 10.0013 | 27.9971 | 28.0775 | 149.9908 | 14.6956 | 15.0596 | 110.9064 | 5.1735 | 2.9112 | 2.9259 | 101811.1 | 110.956 | 110.943 | 110.9398 | 27.9403 | -6.4053 | -5.6806 | 10.0504 | -5.6798 | 27.6 | 110.8844 | 107.7805 | -6.6836 | -5.9339 | 9.7685 | 0.0037326 | 0.006093 | 0.0027522 | 0.0044394 | 0.058113 | 0.0008 | 0.13149 | 0.00096029 | 0.0019487 | 5.3337e-05 | 5.0233e-05 | 1.3 | 0.00062804 | 0.00084035 | 0.00080054 | 0.003135 | 0.019956 | 0.016615 | 0.013827 | 0.014501 | 0 | 0.0008 | 0.014297 | 0.0045388 | 0.004058 | 0.0038119 | 10 | 5061 | 1.5811 | 2021-11-29 04:42 | 9.14 | 0.089443 | 28.06 | 0.054772 | 30.48 | 0.16432 | 8.928 | 0.052631 | 7.212 | 0.044385 | 0.3048 | 0.0016432
57 | 56 | 3919.7558 | 2021-11-29 04:44 | 31.1657 | 31.0055 | 27.999 | 28.0875 | 47.4273 | 14.69 | 15.1946 | 110.9079 | 1.6353 | 2.9103 | 2.925 | 101777.4 | 110.9602 | 110.9469 | 110.9443 | 27.9498 | 9.3821 | 9.3822 | 31.2257 | 9.3816 | 27.2 | 110.8876 | 107.7855 | 9.332 | 9.325 | 30.9008 | 0.0098609 | 0.010179 | 0.0031337 | 0.00028355 | 0.015105 | 1.7764e-15 | 0.079273 | 0.0012738 | 0.00044749 | 5.4589e-05 | 6.5668e-05 | 1.7436 | 0.00053271 | 0.00077738 | 0.00075772 | 0.0024643 | 0.0037681 | 0.0031193 | 0.0049011 | 0.0027885 | 0 | 0.00066332 | 0.023373 | 0.0056081 | 0.0055993 | 0.012022 | 10 | 5111 | 1.5811 | 2021-11-29 05:32 | 17.1 | 0 | 28.1 | 0 | 51.24 | 0.054772 | 14.6 | 0.015811 | 12.23 | 0.015811 | 0.5124 | 0.00054772
58 | 57 | 3969.8339 | 2021-11-29 05:34 | 52.2452 | 52.0008 | 28.0015 | 28.082 | 28.1902 | 14.6904 | 15.1054 | 110.9082 | 0.97256 | 2.9105 | 2.925 | 101784.6 | 110.9591 | 110.943 | 110.9407 | 27.9477 | 17.2776 | 17.2778 | 52.2918 | 17.2774 | 27.1 | 110.8867 | 107.7632 | 17.287 | 17.2802 | 51.9752 | 0.012426 | 0.021947 | 0.0078314 | 0.0049002 | 0.0061351 | 0.0008 | 0.01727 | 0.0014525 | 0.00016629 | 7.6049e-05 | 8.8829e-05 | 1.8547 | 0.0003023 | 0.00047536 | 0.00047322 | 0.0012081 | 0.0011421 | 0.0012243 | 0.0039561 | 0.0014792 | 0 | 0.00064031 | 0.01625 | 0.0028532 | 0.0028715 | 0.010251 | 10 | 5161 | 1.5811 | 2021-11-29 06:22 | 22.9 | 0 | 28 | 0 | 73.6 | 0.1 | 20.518 | 0.010954 | 17.678 | 0.010954 | 0.736 | 0.001
59 | 58 | 4019.9911 | 2021-11-29 06:24 | 74.3358 | 73.9966 | 27.9975 | 28.075 | 19.7863 | 14.694 | 14.7476 | 110.9092 | 0.6829 | 2.9114 | 2.9259 | 101814.1 | 110.9562 | 110.9405 | 110.9389 | 27.9397 | 22.9534 | 22.953 | 74.3486 | 22.9537 | 27.0988 | 110.8838 | 107.7849 | 22.9998 | 22.9927 | 74.046 | 0.017046 | 0.038179 | 0.0052933 | 0.0045758 | 0.0045607 | 1.7764e-15 | 0.011143 | 0.0022877 | 0.00013802 | 5.3134e-05 | 5.3739e-05 | 1.578 | 0.00049473 | 0.00064125 | 0.00066105 | 0.0013999 | 0.0034746 | 0.0035182 | 0.016854 | 0.0032387 | 0.0034406 | 0.0006 | 0.0081176 | 0.0063434 | 0.0063568 | 0.028202 | 10 | 5211 | 1.5811 | 2021-11-29 07:12 | 27.14 | 0.054772 | 28.02 | 0.044721 | 94.86 | 0.15166 | 26.078 | 0.041473 | 22.982 | 0.038341 | 0.9486 | 0.0015166
60 | 59 | 1911-02-21 02:53 | 2021-11-29 07:15 | 95.6515 | 95.0378 | 28.0026 | 28.1121 | 15.367 | 14.6968 | 15.0243 | 110.9102 | 0.53057 | 2.9118 | 2.9263 | 101832.4 | 110.9665 | 110.9548 | 110.9535 | 27.9705 | 27.1731 | 27.1733 | 95.4493 | 27.1733 | 27.1 | 110.8955 | 107.8142 | 27.2336 | 27.2265 | 95.0858 | 0.012079 | 0.039432 | 0.0064464 | 0.0050871 | 0.0024 | 0.0009798 | 0.0096035 | 0.0026935 | 4.49e-05 | 7.7915e-05 | 6.7872e-05 | 2.8 | 0.00054985 | 0.00077829 | 0.00081271 | 0.0036493 | 0.0029096 | 0.0028831 | 0.021513 | 0.0029879 | 0 | 0.0014318 | 0.0070742 | 0.0064237 | 0.0064392 | 0.041896 | 10 | 5262 | 1.5811 | 2021-11-29 08:03 | 22.8 | 0 | 28 | 0 | 73.44 | 0.054772 | 20.444 | 0.013416 | 17.614 | 0.013416 | 0.7344 | 0.00054772
61 | 60 | 1911-04-12 06:29 | 2021-11-29 08:05 | 74.1212 | 73.9983 | 27.9985 | 28.028 | 19.8502 | 14.6988 | 15.1416 | 110.9076 | 0.68508 | 2.9121 | 2.9267 | 101841.1 | 110.9456 | 110.9241 | 110.9219 | 27.9082 | 22.9139 | 22.9141 | 74.3065 | 22.9144 | 27.0026 | 110.8717 | 107.81 | 22.9476 | 22.9405 | 73.9941 | 0.011171 | 0.018738 | 0.0031689 | 0.0028075 | 0.002 | 0.0009798 | 0.0048568 | 0.0019062 | 6.3687e-05 | 4.0379e-05 | 4.6536e-05 | 1.3748 | 0.00044378 | 0.00070618 | 0.00076845 | 0.0020244 | 0.0022245 | 0.0024891 | 0.011663 | 0.0028048 | 0.0044011 | 0.00078102 | 0.017617 | 0.0039476 | 0.0039679 | 0.02152 | 10